## parameters
| version | name
0 | 2.7.0 | EST_VIRTUAL_GRID_v7

## bus
| name | vn_kv | type | zone | in_service | CVM
76 | 8310 | 0.4 | b | Lesquirol1 | TRUE
77 | 8331 | 0.4 | b | Lesquirol4 | TRUE
78 | 8141 | 0.4 | b | Lesquirol2 | TRUE
79 | 8099 | 0.4 | b | Lesquirol2 | TRUE | CVM10
80 | 8122 | 0.4 | b | Lesquirol2 | TRUE | CVM11
81 | 8125 | 0.4 | b | Lesquirol2 | TRUE
82 | 8112 | 0.4 | n | Lesquirol2 | TRUE
83 | 8097 | 0.4 | n | Lesquirol2 | TRUE | CVM3
84 | 8120 | 0.4 | n | Lesquirol2 | TRUE
85 | 8152 | 0.4 | n | Lesquirol2 | TRUE
86 | 8075 | 0.4 | n | Lesquirol2 | TRUE
87 | 8315 | 20 | n | Lesquirol2 | TRUE
88 | 8071 | 0.4 | n | Lesquirol2 | TRUE
89 | 8073 | 0.4 | n | Lesquirol2 | TRUE
90 | 8317 | 0.4 | n | Lesquirol1 | TRUE | CVM1
91 | 8102 | 0.4 | n | Lesquirol2 | TRUE
92 | 8136 | 0.4 | n | Lesquirol2 | TRUE
93 | 8139 | 0.4 | n | Lesquirol2 | TRUE
94 | 8146 | 0.4 | n | Lesquirol2 | TRUE
95 | 8161 | 0.4 | n | Lesquirol2 | TRUE
96 | 8100 | 0.4 | n | Lesquirol2 | TRUE
97 | 8169 | 0.4 | n | Lesquirol2 | TRUE
98 | 8148 | 0.4 | n | Lesquirol2 | TRUE | CVM8
99 | 8132 | 0.4 | n | Lesquirol2 | TRUE
100 | 8142 | 0.4 | n | Lesquirol2 | TRUE
101 | 8093 | 0.4 | n | Lesquirol2 | TRUE
102 | 8065 | 0.4 | n | Lesquirol2 | TRUE
103 | 8388 | 0.4 | n | Lesquirol3 | TRUE
104 | 8095 | 0.4 | n | Lesquirol2 | TRUE
105 | 8116 | 0.4 | n | Lesquirol2 | TRUE | CVM9
106 | 8384 | 0.4 | n | Lesquirol3 | TRUE
107 | 8236 | 0.4 | n | Lesquirol2 | TRUE | CVM5/CVM6
108 | 8165 | 0.4 | n | Lesquirol2 | TRUE
109 | 8129 | 0.4 | n | Lesquirol2 | TRUE
110 | 8135 | 0.4 | n | Lesquirol2 | TRUE
111 | 8392 | 0.4 | n | Lesquirol3 | TRUE
112 | 8381 | 0.4 | n | Lesquirol3 | TRUE
113 | 8063 | 0.4 | n | Lesquirol2 | TRUE
114 | 8088 | 0.4 | n | Lesquirol2 | TRUE
115 | 8234 | 20 | n | Lesquirol3 | TRUE
116 | 8336 | 20 | b | Lesquirol5 | TRUE
117 | 8403 | 20 | b | Lesquirol5 | TRUE
118 | 8229 | 0.4 | n | Lesquirol2 | TRUE
119 | 8230 | 0.4 | n | Lesquirol2 | TRUE | CVM7
120 | 8313 | 0.4 | n | Lesquirol1 | TRUE | CVM2

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
33 | 120194 | 77 | 0.07 | 0 | 0 | 0 |  | 1 | TRUE | wye
34 | 133437 | 76 | 0.010392 | 0 | 0 | 0 |  | 1 | TRUE | wye
35 | 252313 | 111 | 0.015 | 0 | 0 | 0 |  | 1 | TRUE | wye
36 | 86709 | 110 | 0.006928 | 0 | 0 | 0 |  | 1 | TRUE | wye
37 | 93717 | 92 | 0.0044 | 0 | 0 | 0 |  | 1 | TRUE | wye
38 | 92017 | 82 | 0.0044 | 0 | 0 | 0 |  | 1 | TRUE | wye
39 | 89383 | 81 | 0.0066 | 0 | 0 | 0 |  | 1 | TRUE | wye
40 | 114762 | 91 | 0.0055 | 0 | 0 | 0 |  | 1 | TRUE | wye
41 | 126878 | 78 | 0.0069 | 0 | 0 | 0 |  | 1 | TRUE | wye
42 | 130569 | 94 | 0.0069 | 0 | 0 | 0 |  | 1 | TRUE | wye
43 | 131537 | 95 | 0.0069 | 0 | 0 | 0 |  | 1 | TRUE | wye
44 | 107717 | 86 | 0.0044 | 0 | 0 | 0 |  | 1 | TRUE | wye
45 | 107717 | 86 | 0.0088 | 0 | 0 | 0 |  | 1 | TRUE | wye
46 | 135639 | 88 | 0.00575 | 0 | 0 | 0 |  | 1 | TRUE | wye
47 | 134712 | 83 | 0.005 | 0 | 0 | 0 |  | 1 | TRUE | wye
48 | 134717 | 84 | 0.0075 | 0 | 0 | 0 |  | 1 | TRUE | wye
49 | 8381 | 112 | 0.055851 | 0 | 0 | 0 |  | 1 | TRUE | wye
50 | 113497 | 102 | 0.0055 | 0 | 0 | 0 |  | 1 | TRUE | wye
51 | 103526 | 101 | 0.0066 | 0 | 0 | 0 |  | 1 | TRUE | wye
52 | 103526 | 101 | 0.0069 | 0 | 0 | 0 |  | 1 | TRUE | wye
53 | 84642 | 100 | 0.0046 | 0 | 0 | 0 |  | 1 | TRUE | wye
54 | 84243 | 109 | 0.0044 | 0 | 0 | 0 |  | 1 | TRUE | wye
55 | 104161 | 97 | 0.0055 | 0 | 0 | 0 |  | 1 | TRUE | wye
56 | 104161 | 97 | 0.0055 | 0 | 0 | 0 |  | 1 | TRUE | wye
57 | 101744 | 108 | 0.0055 | 0 | 0 | 0 |  | 1 | TRUE | wye
58 | 101744 | 108 | 0.0055 | 0 | 0 | 0 |  | 1 | TRUE | wye
59 | 134718 | 104 | 0.0049 | 0 | 0 | 0 |  | 1 | TRUE | wye

## sgen
| name | bus | p_mw | q_mvar | sn_mva | scaling | in_service | type | current_source
3 |  | 83 | 0.0069 | 0 |  | 1 | TRUE | wye | TRUE | TRUE
4 |  | 114 | 0.0153 | 0 |  | 1 | TRUE | wye | TRUE | TRUE
5 |  | 84 | 0.0296 | 0 |  | 1 | TRUE | wye | TRUE | TRUE
6 |  | 104 | 0.0158 | 0 |  | 1 | TRUE | wye | TRUE | TRUE
7 |  | 102 | 0.0055 | 0 |  | 1 | TRUE | wye | TRUE | TRUE
8 | PED | 119 | 0.075 | 0.075 |  | 1 | TRUE | wye | TRUE | TRUE

## switch
| bus | element | et | type | closed | name | z_ohm
0 | 79 | 96 | b | cb | FALSE | SG2 | 0
1 | 107 | 118 | b | cb | TRUE | SG3 | 0
2 | 90 | 120 | b | cb | TRUE | SG1 | 0

## ext_grid
| name | bus | vm_pu | va_degree | in_service | s_sc_max_mva | rx_max | x0x_max | r0x0_max
0 |  | 115 | 1 | 0 | TRUE | 1000 | 0.1 | 100 | 100
1 |  | 87 | 1 | 0 | TRUE | 1000 | 0.1 | 100 | 100

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service | c0_nf_per_km | r0_ohm_per_km | x0_ohm_per_km | endtemp_degree
61 | 101092 | 15-AL1/3-ST1A 0.4 | 76 | 90 | 0.00069 | 1.8769 | 0.35 | 11 | 0 | 0.105 | 1 | 1 | ol | TRUE | 2000 | 0.244 | 0.336
62 | 101093 | NA2XS2Y 1x185 RM/25 6/10 kV | 77 | 90 | 0.00675 | 0.161 | 0.11 | 406 | 0 | 0.358 | 1 | 1 | cs | TRUE | 2000 | 0.244 | 0.336
63 | 101095 | 15-AL1/3-ST1A 0.4 | 78 | 93 | 0.0007 | 1.8769 | 0.35 | 11 | 0 | 0.105 | 1 | 1 | ol | TRUE | 2000 | 0.244 | 0.336
64 | 101097 | 15-AL1/3-ST1A 0.4 | 79 | 91 | 0.0019 | 1.8769 | 0.35 | 11 | 0 | 0.105 | 1 | 1 | ol | TRUE | 2000 | 0.244 | 0.336
65 | 101098 | NA2XS2Y 1x240 RM/25 6/10 kV | 79 | 93 | 0.05683 | 0.122 | 0.105 | 456 | 0 | 0.416 | 1 | 1 | cs | TRUE | 2000 | 0.244 | 0.336
66 | 101099 | NA2XS2Y 1x240 RM/25 6/10 kV | 80 | 79 | 0.06868 | 0.122 | 0.105 | 456 | 0 | 0.416 | 1 | 1 | cs | TRUE | 2000 | 0.244 | 0.336
67 | 101100 | 15-AL1/3-ST1A 0.4 | 80 | 92 | 0.01957 | 1.8769 | 0.35 | 11 | 0 | 0.105 | 1 | 1 | ol | TRUE | 2000 | 0.244 | 0.336
68 | 101101 | 15-AL1/3-ST1A 0.4 | 81 | 80 | 0.00197 | 1.8769 | 0.35 | 11 | 0 | 0.105 | 1 | 1 | ol | TRUE | 2000 | 0.244 | 0.336
69 | 101102 | 15-AL1/3-ST1A 0.4 | 82 | 80 | 0.02555 | 1.8769 | 0.35 | 11 | 0 | 0.105 | 1 | 1 | ol | TRUE | 2000 | 0.244 | 0.336
70 | 114370 | 15-AL1/3-ST1A 0.4 | 83 | 79 | 0.00106 | 1.8769 | 0.35 | 11 | 0 | 0.105 | 1 | 1 | ol | TRUE | 2000 | 0.244 | 0.336
71 | 114371 | 15-AL1/3-ST1A 0.4 | 84 | 80 | 0.00196 | 1.8769 | 0.35 | 11 | 0 | 0.105 | 1 | 1 | ol | TRUE | 2000 | 0.244 | 0.336
72 | 116284 | NA2XS2Y 1x240 RM/25 6/10 kV | 85 | 93 | 0.03883 | 0.122 | 0.105 | 456 | 0 | 0.416 | 1 | 1 | cs | TRUE | 2000 | 0.244 | 0.336
73 | 123187 | 15-AL1/3-ST1A 0.4 | 85 | 94 | 0.00809 | 1.8769 | 0.35 | 11 | 0 | 0.105 | 1 | 1 | ol | TRUE | 2000 | 0.244 | 0.336
74 | 125564 | 15-AL1/3-ST1A 0.4 | 85 | 95 | 0.00213 | 1.8769 | 0.35 | 11 | 0 | 0.105 | 1 | 1 | ol | TRUE | 2000 | 0.244 | 0.336
75 | 125565 | 15-AL1/3-ST1A 0.4 | 86 | 89 | 0.01715 | 1.8769 | 0.35 | 11 | 0 | 0.105 | 1 | 1 | ol | TRUE | 2000 | 0.244 | 0.336
76 | 138403 | NA2XS2Y 1x240 RM/25 6/10 kV | 120 | 85 | 0.06785 | 0.122 | 0.105 | 456 | 0 | 0.416 | 1 | 1 | cs | TRUE | 2000 | 0.244 | 0.336
77 | 164357 | 15-AL1/3-ST1A 0.4 | 88 | 89 | 0.00219 | 1.8769 | 0.35 | 11 | 0 | 0.105 | 1 | 1 | ol | TRUE | 2000 | 0.244 | 0.336
78 | L-SG2 | 15-AL1/3-ST1A 0.4 | 96 | 105 | 0.057 | 1.8769 | 0.35 | 11 | 0 | 0.105 | 1 | 1 | ol | TRUE | 2000 | 0.244 | 0.336
79 | 165327 | NA2XS2Y 1x95 RM/25 6/10 kV | 79 | 89 | 0.01987 | 0.313 | 0.123 | 315 | 0 | 0.249 | 1 | 1 | cs | TRUE | 2000 | 0.244 | 0.336
80 | 100171 | NA2XS2Y 1x240 RM/25 6/10 kV | 99 | 98 | 0.045 | 0.122 | 0.105 | 456 | 0 | 0.416 | 1 | 1 | cs | TRUE | 2000 | 0.244 | 0.336
81 | 100192 | 15-AL1/3-ST1A 0.4 | 97 | 98 | 0.01085 | 1.8769 | 0.35 | 11 | 0 | 0.105 | 1 | 1 | ol | TRUE | 2000 | 0.244 | 0.336
82 | 100455 | NA2XS2Y 1x240 RM/25 6/10 kV | 98 | 118 | 0.03378 | 0.122 | 0.105 | 456 | 0 | 0.416 | 1 | 1 | cs | TRUE | 2000 | 0.244 | 0.336
83 | 100456 | 15-AL1/3-ST1A 0.4 | 98 | 108 | 0.00982 | 1.8769 | 0.35 | 11 | 0 | 0.105 | 1 | 1 | ol | TRUE | 2000 | 0.244 | 0.336
84 | 100457 | 94-AL1/15-ST1A 0.4 | 99 | 109 | 0.00191 | 0.306 | 0.29 | 13.2 | 0 | 0.35 | 1 | 1 | ol | TRUE | 2000 | 0.244 | 0.336
85 | 100458 | 15-AL1/3-ST1A 0.4 | 99 | 110 | 0.00189 | 1.8769 | 0.35 | 11 | 0 | 0.105 | 1 | 1 | ol | TRUE | 2000 | 0.244 | 0.336
86 | 100459 | NA2XS2Y 1x95 RM/25 6/10 kV | 105 | 99 | 0.05597 | 0.313 | 0.123 | 315 | 0 | 0.249 | 1 | 1 | cs | TRUE | 2000 | 0.244 | 0.336
87 | 100460 | 15-AL1/3-ST1A 0.4 | 100 | 105 | 0.02798 | 1.8769 | 0.35 | 11 | 0 | 0.105 | 1 | 1 | ol | TRUE | 2000 | 0.244 | 0.336
88 | 100461 | 15-AL1/3-ST1A 0.4 | 101 | 105 | 0.04004 | 1.8769 | 0.35 | 11 | 0 | 0.105 | 1 | 1 | ol | TRUE | 2000 | 0.244 | 0.336
89 | 100462 | 15-AL1/3-ST1A 0.4 | 102 | 105 | 0.06294 | 1.8769 | 0.35 | 11 | 0 | 0.105 | 1 | 1 | ol | TRUE | 2000 | 0.244 | 0.336
90 | 100782 | 15-AL1/3-ST1A 0.4 | 103 | 111 | 0.00291 | 1.8769 | 0.35 | 11 | 0 | 0.105 | 1 | 1 | ol | TRUE | 2000 | 0.244 | 0.336
91 | 100783 | 94-AL1/15-ST1A 0.4 | 103 | 112 | 0.00286 | 0.306 | 0.29 | 13.2 | 0 | 0.35 | 1 | 1 | ol | TRUE | 2000 | 0.244 | 0.336
92 | 100784 | 48-AL1/8-ST1A 0.4 | 103 | 106 | 0.01408 | 0.5939 | 0.3 | 12.2 | 0 | 0.21 | 1 | 1 | ol | TRUE | 2000 | 0.244 | 0.336
93 | 114290 | 15-AL1/3-ST1A 0.4 | 102 | 113 | 0.00346 | 1.8769 | 0.35 | 11 | 0 | 0.105 | 1 | 1 | ol | TRUE | 2000 | 0.244 | 0.336
94 | 114372 | 15-AL1/3-ST1A 0.4 | 101 | 114 | 0.00351 | 1.8769 | 0.35 | 11 | 0 | 0.105 | 1 | 1 | ol | TRUE | 2000 | 0.244 | 0.336
95 | 115138 | 15-AL1/3-ST1A 0.4 | 104 | 101 | 0.00238 | 1.8769 | 0.35 | 11 | 0 | 0.105 | 1 | 1 | ol | TRUE | 2000 | 0.244 | 0.336
96 | 162931 | NA2XS2Y 1x240 RM/25 6/10 kV | 106 | 107 | 0.05378 | 0.122 | 0.105 | 456 | 0 | 0.416 | 1 | 1 | cs | TRUE | 2000 | 0.244 | 0.336
97 | LT-379 | NA2XS2Y 1x240 RM/25 12/20 kV | 115 | 116 | 0.171 | 0.122 | 0.112 | 304 | 0 | 0.421 | 1 | 1 | cs | TRUE | 2000 | 0.244 | 0.336
98 | LT-380 | NA2XS2Y 1x240 RM/25 12/20 kV | 116 | 117 | 0.049 | 0.122 | 0.112 | 304 | 0 | 0.421 | 1 | 1 | cs | TRUE | 2000 | 0.244 | 0.336
99 | LT-2197 | NA2XS2Y 1x70 RM/25 6/10 kV | 117 | 87 | 0.086 | 0.443 | 0.217 | 280 | 0 | 0.123 | 1 | 1 | cs | TRUE | 2000 | 0.244 | 0.336
100 | PED-Line | NA2XS2Y 1x240 RM/25 6/10 kV | 118 | 119 | 0.0045 | 0.122 | 0.105 | 456 | 0 | 0.416 | 1 | 1 | cs | TRUE | 2000 | 0.244 | 0.336

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service | vector_group | vk0_percent | vkr0_percent | mag0_percent | mag0_rx | si0_hv_partial
14 | CT-528 | 0.63 MVA 20/0.4 kV | 87 | 90 | 0.63 | 20 | 0.4 | 3.99 | 1.206 | 1.65 | 0.2619 | -30 | hv | 0 | -2 | 2 | 2.5 | 0 | 1 | FALSE | 1 | 1 | TRUE | Dyn | 5 | 0.4 | 10 | 0.4 | 0.9
15 | CT-030 | 0.63 MVA 20/0.4 kV | 115 | 107 | 0.63 | 20 | 0.4 | 3.99 | 1.206 | 1.65 | 0.2619 | -30 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE | Dyn | 5 | 0.4 | 10 | 0.4 | 0.9

## bus_geodata
| x | y | coords
0 | 42.1968 | 2.3222
1 | 42.1962 | 2.2751
2 | 42.1968 | 2.3222
3 | 42.1867 | 2.308
4 | 42.1909 | 2.2805
5 | 42.1851 | 2.2821
6 | 42.1958 | 2.304
7 | 42.1975 | 2.305
8 | 42.1949 | 2.2953
9 | 42.1983 | 2.2786
10 | 42.1959 | 2.3163
11 | 42.1968 | 2.3222
12 | 42.1788 | 2.3184
13 | 42.1812 | 2.2951
14 | 42.1948 | 2.3015
15 | 42.1962 | 2.2751
16 | 42.1867 | 2.308
17 | 42.1909 | 2.2805
18 | 42.1851 | 2.2821
19 | 42.1975 | 2.305
20 | 42.1949 | 2.2953
21 | 42.1983 | 2.2786
22 | 42.1959 | 2.3163
23 | 42.1968 | 2.3222
24 | 42.1788 | 2.3184
25 | 42.1812 | 2.2951
26 | 42.1958 | 2.304
27 | 42.1948 | 2.3015
28 | 42.1967 | 2.3213
29 | 42.1958 | 2.3147
30 | 42.1953 | 2.3085
31 | 42.1948 | 2.3041
32 | 42.1948 | 2.3023
33 | 42.1961 | 2.2778
34 | 42.1852 | 2.2879
35 | 42.1969 | 2.2755
36 | 42.193 | 2.2759
37 | 42.1988 | 2.2729
38 | 42.1938 | 2.2694
39 | 42.1961 | 2.2731
40 | 42.1948 | 2.259
41 | 42.193 | 2.2702
42 | 42.194 | 2.2761
43 | 42.1939 | 2.2687
44 | 42.1934 | 2.2759
45 | 42.1918 | 2.2669
46 | 42.197 | 2.2692
47 | 42.1929 | 2.2702
48 | 42.1966 | 2.2764
49 | 42.1938 | 2.2694
50 | 42.1965 | 2.2657
51 | 42.1944 | 2.2653
52 | 42.196 | 2.2732
53 | 42.1993 | 2.2771
54 | 42.1991 | 2.2754
55 | 42.1971 | 2.2764
56 | 42.1968 | 2.2754
57 | 42.1992 | 2.2753
58 | 42.1964 | 2.2757
59 | 42.1939 | 2.2759
60 | 42.1918 | 2.2811
61 | 42.1882 | 2.2814
62 | 42.1881 | 2.2815
63 | 42.1821 | 2.2748
64 | 42.1826 | 2.284
65 | 42.1848 | 2.2854
66 | 42.1849 | 2.2848
67 | 42.1845 | 2.2836
68 | 42.1818 | 2.2748
69 | 42.1833 | 2.2938
70 | 42.1837 | 2.2921
71 | 42.1778 | 2.2942
72 | 42.1834 | 2.2966
73 | 42.1827 | 2.2914
74 | 42.1812 | 2.2952
75 | 42.1835 | 2.2936
76 | 42.0362 | 2.3653
77 | 42.0362 | 2.3653
78 | 42.0367 | 2.3659
79 | 42.0371 | 2.366
80 | 42.0368 | 2.3654
81 | 42.0368 | 2.3654
82 | 42.037 | 2.3656
83 | 42.0371 | 2.366
84 | 42.0368 | 2.3654
85 | 42.0365 | 2.3656
86 | 42.0373 | 2.3663
87 | 42.0362 | 2.3653
88 | 42.0373 | 2.3661
89 | 42.0373 | 2.3661
90 | 42.0362 | 2.3653
91 | 42.0371 | 2.366
92 | 42.0368 | 2.3655
93 | 42.0367 | 2.3659
94 | 42.0366 | 2.3656
95 | 42.0365 | 2.3656
96 | 42.0371 | 2.366
97 | 42.0365 | 2.3674
98 | 42.0366 | 2.3673
99 | 42.0368 | 2.3669
100 | 42.0367 | 2.3662
101 | 42.0372 | 2.3666
102 | 42.0374 | 2.3666
103 | 42.036 | 2.3678
104 | 42.0372 | 2.3665
105 | 42.0369 | 2.3664
106 | 42.036 | 2.3677
107 | 42.0364 | 2.3675
108 | 42.0365 | 2.3672
109 | 42.0368 | 2.3669
110 | 42.0368 | 2.3669
111 | 42.036 | 2.3678
112 | 42.036 | 2.3678
113 | 42.0374 | 2.3666
114 | 42.0372 | 2.3665
115 | 42.0364 | 2.3675
116 | 42.0361 | 2.367
117 | 42.0362 | 2.3661
118 | 42.0364 | 2.3675
119 | 42.0364 | 2.3675
120 | 42.0362 | 2.3653
121 | 42.135 | 2.3168
122 | 42.1027 | 2.3122
123 | 42.0756 | 2.3083
124 | 42.0809 | 2.3462
125 | 42.0386 | 2.3716
126 | 42.0682 | 2.2922
127 | 42.0681 | 2.2915
128 | 41.9784 | 2.3005
129 | 41.9265 | 2.2764
130 | 41.8419 | 2.2452
131 | 41.7359 | 2.2357
132 | 41.7107 | 2.2396
133 | 41.6675 | 2.2631
134 | 41.6421 | 2.2824
135 | 41.8421 | 2.2448
136 | 41.8422 | 2.2446
137 | 41.6686 | 2.2272
138 | 41.6686 | 2.227
139 | 41.8038 | 2.258
140 | 41.8035 | 2.2583
141 | 41.6797 | 2.2894
142 | 41.68 | 2.2899
143 | 41.6098 | 2.2857
144 | 41.6098 | 2.2857
145 | 41.6106 | 2.2857
146 | 41.6097 | 2.2857
147 | 41.61 | 2.2859
148 | 41.6099 | 2.2859
149 | 41.6101 | 2.2858
150 | 41.6101 | 2.286
151 | 41.6101 | 2.286
152 | 41.6098 | 2.2857
153 | 41.6098 | 2.2859
154 | 41.6101 | 2.286
155 | 41.6101 | 2.286
156 | 41.61 | 2.2859
157 | 41.6102 | 2.2857
158 | 41.6097 | 2.2858
159 | 41.6095 | 2.2858
160 | 41.6099 | 2.2859
161 | 41.61 | 2.2859
162 | 41.6102 | 2.2858
163 | 41.6093 | 2.2859
164 | 41.609 | 2.2855
165 | 41.6092 | 2.2855
166 | 41.6087 | 2.2858
167 | 41.6094 | 2.2855
168 | 41.6094 | 2.2855
169 | 41.609 | 2.2858
170 | 41.6088 | 2.2858
171 | 41.6092 | 2.2858
172 | 41.6092 | 2.2857
173 | 41.6089 | 2.2857
174 | 41.6087 | 2.2858
175 | 41.6089 | 2.2857
176 | 41.6093 | 2.2853
177 | 41.6091 | 2.2859
178 | 41.6093 | 2.2857
179 | 41.609 | 2.2855
180 | 41.609 | 2.2858
181 | 41.6094 | 2.2852
182 | 41.6093 | 2.2855
183 | 41.6088 | 2.2858
184 | 41.6094 | 2.2851
185 | 41.6086 | 2.2858
186 | 41.6092 | 2.2858
187 | 41.6093 | 2.2859
188 | 41.609 | 2.2857
189 | 41.6096 | 2.2851
190 | 41.6096 | 2.2851
191 | 41.6095 | 2.2852
192 | 41.6098 | 2.2853
193 | 41.6108 | 2.2858
194 | 41.6108 | 2.2858
195 | 41.6108 | 2.286
196 | 41.61 | 2.2851
197 | 41.6101 | 2.2853
198 | 41.6101 | 2.2853
199 | 41.6103 | 2.286
200 | 41.6102 | 2.286
201 | 41.6095 | 2.2851
202 | 41.6099 | 2.2854
203 | 41.6102 | 2.2853
204 | 41.6095 | 2.2856
205 | 41.6101 | 2.2854
206 | 41.6101 | 2.2854
207 | 41.6099 | 2.2854
208 | 41.6098 | 2.2854
209 | 41.6171 | 2.2858
210 | 41.6101 | 2.2811
211 | 41.6101 | 2.2807
212 | 41.642 | 2.2837
213 | 41.6359 | 2.268

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403
50-2x(RZ 3x50) 0.4 | 10.1 | 0.821 | 0.223 | 0.15 | ol | 50 | 0.00403
10-(NU 2x10) 0.4 | 11 | 2.27 | 0.086 | 0.12 | ol | 10 | 0.00403
95-(RZ 3.5x95) 0.4 | 10.75 | 0.306 | 0.33 | 0.23 | ol | 95 | 0.00403
16-(i 2x16) 0.4 | 11 | 2.27 | 0.086 | 0.086 | ol | 10 | 0.00403
25-(NU 3x25) 0.4 | 11.25 | 0.907 | 0.081 | 0.19 | ol | 25 | 0.00403
116-(LA-110) 40 | 10.3 | 0.3067 | 0.352 | 0.315 | ol | 116 | 0.00403
55-(LA-56) 5 | 10.1 | 0.614 | 0.374 | 0.2 | ol | 55 | 0.00403

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.31 | 0.62 | 0.96 | 0.16 | 0.4 | 20 | 4 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.16 MVA 20/0.4 kV vc | 0.31 | 0.62 | 0.96 | 0.16 | 0.4 | 20 | 4 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.025 MVA 5/0.4 kV | 0.3 | 0.634 | 0.96 | 0.025 | 0.4 | 5 | 4.86 | 0 | Yy0 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.025 MVA 5.25/0.23 kV | 0.3 | 0.634 | 0.96 | 0.025 | 0.23 | 5.25 | 4.86 | 0 | Yy0 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.05 MVA 5/0.4 kV | 0.3 | 1.268 | 0.96 | 0.05 | 0.4 | 5 | 4.86 | 0 | Yy0 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.1 MVA 5/0.4 kV | 0.3 | 2.536 | 0.96 | 0.1 | 0.4 | 5 | 4.86 | 270 | Dyn11 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.6 MVA 37.8/5 kV | 0.2619 | 15.216 | 1.206 | 0.6 | 5 | 37.8 | 4.86 | 0 | Yy0 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 5/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 5 | 4 | 0 | Yy0 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | int32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | sgen | name | object
16 | sgen | bus | int32
17 | sgen | p_mw | float64
18 | sgen | q_mvar | float64
19 | sgen | sn_mva | float64
20 | sgen | scaling | int64
21 | sgen | in_service | bool
22 | sgen | type | object
23 | sgen | current_source | bool
24 | switch | bus | int32
25 | switch | element | int32
26 | switch | et | object
27 | switch | type | object
28 | switch | closed | bool
29 | switch | name | object
30 | switch | z_ohm | float64
31 | ext_grid | name | object
32 | ext_grid | bus | int32
33 | ext_grid | vm_pu | float64
34 | ext_grid | va_degree | float64
35 | ext_grid | in_service | bool
36 | ext_grid | s_sc_max_mva | float64
37 | ext_grid | rx_max | float64
38 | ext_grid | x0x_max | float64
39 | ext_grid | r0x0_max | float64
40 | line | name | object
41 | line | std_type | object
42 | line | from_bus | int32
43 | line | to_bus | int32
44 | line | length_km | float64
45 | line | r_ohm_per_km | float64
46 | line | x_ohm_per_km | float64
47 | line | c_nf_per_km | float64
48 | line | g_us_per_km | float64
49 | line | max_i_ka | float64
50 | line | df | float64
51 | line | parallel | uint32
52 | line | type | object
53 | line | in_service | bool
54 | line | c0_nf_per_km | object
55 | line | r0_ohm_per_km | object
56 | line | x0_ohm_per_km | object
57 | line | endtemp_degree | object
58 | trafo | name | object
59 | trafo | std_type | object
60 | trafo | hv_bus | int32
61 | trafo | lv_bus | int32
62 | trafo | sn_mva | float64
63 | trafo | vn_hv_kv | float64
64 | trafo | vn_lv_kv | float64
65 | trafo | vk_percent | float64
66 | trafo | vkr_percent | float64
67 | trafo | pfe_kw | float64
68 | trafo | i0_percent | float64
69 | trafo | shift_degree | float64
70 | trafo | tap_side | object
71 | trafo | tap_neutral | int32
72 | trafo | tap_min | int32
73 | trafo | tap_max | int32
74 | trafo | tap_step_percent | float64
75 | trafo | tap_step_degree | float64
76 | trafo | tap_pos | int32
77 | trafo | tap_phase_shifter | bool
78 | trafo | parallel | uint32
79 | trafo | df | float64
80 | trafo | in_service | bool
81 | trafo | vector_group | object
82 | trafo | vk0_percent | object
83 | trafo | vkr0_percent | object
84 | trafo | mag0_percent | object
85 | trafo | mag0_rx | object
86 | trafo | si0_hv_partial | object
87 | bus_geodata | x | float64
88 | bus_geodata | y | float64
89 | bus_geodata | coords | object
90 | res_bus | vm_pu | float64
91 | res_bus | va_degree | float64
92 | res_bus | p_mw | float64
93 | res_bus | q_mvar | float64